## Sample1
Key | Service Name | Specification | Accreditation
1 | Chemical Analysis - Optical Emission Spectroscopy (OES), X-ray fluorescence (XRF), Spectral analysis, on-site Positive Material Identification (PMI) | n/a | ISO 17025
2 | Failure Analysis (Damage investigations, production accompanying on-site examinations | n/a | ISO 17025
3 | ACIDIFIED SYNTHETIC SEA WATER TESTING (SWAAT TEST) - Copper Accelerated Acetic Acid-Salt Spray (CASS) | ASTM G85-11 A3 | n/a
4 | Intergranular Corrosion Test (Streicher Test, Huey Test) | DIN EN ISO 3651-1, ASTM A262 | n/a
5 | Salt Spray Testing | DIN EN ISO 9227, ASTM B117 | ISO 17025
6 | Alternate immersion corrosion test | n/a | ISO 17025
7 | Cleanliness - Particulate contamination of functionally relevant automotive parts | VDA Volume 19 Part 1 | ISO 17025
8 | Combined Corrosion Exchange Tests | VDA 612-415, PV 1210 | ISO 17025
9 | Combined Corrosion Exchange Tests | VDA 233-102, BMW AA-0326 SCAB, PV1209, Volvo STD 423-0014, Ford CETP 00.00-L-467, TRW TS34034181 | n/a
10 | Condensation / SO2 test climates | DIN 50018 | ISO 17025
11 | Cyclic heat and humidity testing | DIN EN 60068-2-30 | ISO 17025
12 | Environmental exposure - Cold Temperature | DIN EN 60068-2-1; VDE 0468-2-1 | ISO 17025
13 | Environmental exposure - Hot Temperature | DIN EN 60068-2-2; VDE 0468-2-2 | ISO 17025
14 | Environmental influences - Part 2-38: Test method - Test Z / AD: Composite test, temperature / humidity, cyclic | DIN EN 60068-2-38; VDE 0468-2-38 | ISO 17025
15 | Environmental Influences - Part 2-78: Test Method - Exam Cab: Humidity Heat, constant | DIN EN 60068-2-78; VDE 0468-2-78 | ISO 17025
16 | Environmental testing - Part 2-67: Tests - Examination Cy: Moisture heat, constant, accelerated testing, preferably for components | DIN EN 60068-2-67 | ISO 17025
17 | Metallic and other inorganic coatings - Sulfur dioxide test under general moisture condensation | DIN EN ISO 6988 | ISO 17025
18 | Paints and varnishes - Determination of resistance to moisture - Part 1: Condensation (one-sided stress); Part 2: Condensation (stress in a climatic chamber with heated Water tank); | DIN EN ISO 6270-1; DIN EN ISO 6270-2 | ISO 17025
19 | Road vehicles - Cleanliness of components for fluid systems - Part 3: Sample collection by spray cleaning for the detection of particles | ISO 16232-3 | ISO 17025
20 | Rockfall inpact (gravelometer) | VDA standards | ISO 17025
Note on B309: Rob Long: Weight limit? Other limitations?
Note on B367: Rob Long: Limitations?
Note on B1586: Rob Long: Elements tested for?
Note on B1588: Rob Long: Can you explain the difference between these two? Elements tested?
Note on B1589: Rob Long: Elements tested?
Note on B1600: Rob Long: Load limit?
Note on B1606: Rob Long: Min and max joules? Subsize specimens?
Note on C1609: Rob Long: All methods for washers?
Note on B1619: Rob Long: load limit?
Note on B1620: Rob Long: load limit?
Note on B1621: Rob Long: load limit
Note on B1622: Rob Long: Temp limit?
Note on B1624: Rob Long: Elevated temp? Load limit
Note on C1637: Rob Long: Any relevant specs?
Note on C1638: Rob Long: Any relevant specs?
Note on B1649: Rob Long: CWI Qualification? On site? How far will you travel?
Note on B3132: Rob Long: Size of chamber?
Note on B3137: Rob Long: % humidity limit
Note on B3170: Rob Long: Types of tests?
Note on B3176: Rob Long: Types of tests?
Note on B3179: Rob Long: Types of testing?
Note on B3180: Rob Long: Types of testing?
Note on B5546: Rob Long: Limitations?
Note on B5547: Rob Long: Weight limit? Other limitations?
Note on B5973: Rob Long: accuracy?
Note on B6002: Rob Long: limits?
Note on B6044: Rob Long: min/max joules? Temp?
Note on B6073: Rob Long: Load Limit? Temperature range? Any sample size limits?
Note on B6195: Rob Long: %E limit?
Note on B6200: Rob Long: load limits?
Note on B6341: Rob Long: Weight limit? Other limitations?
Note on B6651: Rob Long: RH limits?
Note on B6677: Rob Long: min/max joules?
Note on B6683: Rob Long: load, %E limits?
Note on B9531: Rachel Jaynes: Temperature range? What type of extensometer is used?
Note on B9589: Rob Long: range?
Note on B9595: Rob Long: Types of failures? Ideal project.
Note on C13042: Rob Long:
Note on B13052: Rob Long: List any other capabilities not mentioned above in the list below.
Note on B13573: Rob Long: Can you explain the difference between these two? Elements tested?
Note on B15910: Rob Long:accuracy?
Note on B16017: Rob Long: Just hydrostatic?
Note on B16019: Rob Long:load limit?
Note on B16026: Rob Long:Types of tests?
Note on B16051: Rob Long:Types of tests?
Note on B16069: Rob Long:types of tests?
Note on B16090: Rob Long:load, %E limits?
Note on B16100: Rob Long:accuracy?
Note on B16765: ntierna:
Note on B16768: ntierna: Up to 1600F
Note on B16778: ntierna: Room Temp, Elevated Temp, one low and one high load